Download Connection RS232C

In case of connecting Main Module 6P Connector and PC 9P Connector

Main Module(6P Male)                PC(9P Female)

1            CD

2            RD

3            SD

4           DTR

5            SG

6           DSR

7           RTS

8           CTS

9

1

2            RD

3            SG

4

5

6            SD

2

1

4

6

3

5

1

9

1

6